QUOTATION

Commercial proposal for CRYSTAL precision measurement equipment.

| [AA-9021SA] Image not available | SEMI-AUTOMATIC VISION MEASURING MACHINE The CRYSTAL Semi-Automatic Video Measuring System combines manual X / Y control with CNC-driven Z-axis motion for high-accuracy, repeatable dimensional inspection. Semi-Automatic Control: Manual X / Y axes with CNC-driven, auto-focusing Z axis. Precision Motion: HIWIN linear guide ways for stable, repeatable motion. Programmable Illumination: LED 8-zone ring surface light with LED bottom parallel light. |
| --- | --- |

| Offer No. | Date | Seller | Buyer |
| --- | --- | --- | --- |
| AA/VMM/26-27/002 | 2026-09-28 | ARMATECH ASSOCIATES +91 7020991684 / +91 9699820070 armatech@gmail.com | nikam one cloud 8624012775 pune |

SELECTED PRODUCT

| Product | Semi-Automatic Vision Measuring Machine |
| --- | --- |
| Model | AA-9021SA |
| Category | Semi Automatic VMM |
| Quantity | 1.0 |

TECHNICAL SPECIFICATION

Model: AA-9021SA  •  Semi-Automatic Vision Measuring Machine

| Parameter | Specification |
| --- | --- |
| Model No | AA-9021SA |
| Machine stand | Semi Automatic VMM |
| Dimension (mm) (X/Y/Z) | 550 × 540 × 930 mm |
| Measuring range (mm) (X/Y/Z) | 200 × 100 × 150 mm |
| Measuring accuracy (µm) | 2.5 + L/100 µm |
| Repeatability (µm) | ±2.5 µm |
| Weight (Kg) | 130 kg |
| CCD | Industrial-grade color CCD camera |
| Lens | Manual lens with 0.7 to 4.5X magnification |
| Magnification | 18–195X |
| FOV (mm) | 8.1–1.5 mm |
| Working distance (mm) | 80 mm |
| Linear scale resolution | 0.5 µm (0.1 µm optional) |
| Driving system | Manual control for X/Y axes; CNC full closed-loop motion control for Z axis including automatic focusing |
| Illumination | Programmable LED 8-zone ring surface light; LED bottom parallel light, with optional ring/coaxial light where supported |

Semi-Automatic Vision Measuring Machine - CAT: AA-9021SA

FEATURES

Hardware and software features for AA-9021SA.

| Hardware | Software (2.5D) |
| --- | --- |
| 1. High-accuracy granite base and column. 2. Two-layer table structure reduces mechanical error. 3. HIWIN linear guide ways for X / Y / Z motion. 4. CNC-driven, auto-focusing Z axis. 5. High-precision 0.5 µm linear scale (0.1 µm optional). 6. Programmable LED 8-zone ring light + LED bottom parallel light. | 1. 2.5D measurement with CNC-assisted Z-axis. 2. Excel-like data connection. 3. Automatic tolerance output with colour and sound indication. 4. Sub-pixel measurement capability. 5. Complex curve measurement. |

ACCESSORIES: CUSTOMER SCOPE / SELECTED ACCESSORIES

Selected accessories and configuration for AA-9021SA.

SELECTED ACCESSORIES

| Sr. No. | Description | Qty. | Price (INR) |
| --- | --- | --- | --- |
| 1 | Computer System | 1.0 | ₹ 100.00 |

CONFIGURATION NOTE

Accessories shown on this page are part of the selected quotation configuration. Accessory prices, quantities and commercial treatment are reflected in the final commercial quotation.

Any accessory not selected in the quotation form is not included in the commercial total.

STANDARD QUOTATION

Commercial quotation for the selected configuration.

| Sr. No. | Product / Accessory | Description | Qty. | Unit Price (INR) | Total Price (INR) |
| --- | --- | --- | --- | --- | --- |
| 1 | Semi-Automatic Vision Measuring Machine | Model: AA-9021SA Measuring Range: 200 × 100 × 150 mm | 1.0 | ₹ 1,000.00 | ₹ 1,000.00 |
| 2 | Additional Items | - | - | - | ₹ 100.00 |
| 3 | Transportation Cost | - | - | - | ₹ 0.00 |

| Taxable Value / Base Price | ₹ 1,100.00 |
| --- | --- |
| CGST (0.00%) | ₹ 0.00 |
| SGST (0.00%) | ₹ 0.00 |
| GRAND TOTAL | ₹ 1,100.00 |

Amount in Words: Rupees One Thousand One Hundred Only